- PEW-2* – EyeSafe-X™ faucet mounted eyewash. Angled, adjustable spray heads are aerated and 5” apart, supplied with float off dust covers.  Forged brass diverter valve operates when pull knob is activated. Furnished with three adaptors to fit most commonly used faucets, including laboratory type.

- Performance:  Unit shall be hydrostatically tested and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1101