- SCEW-1* – 16 Gallon AquaGuard™ gravity flow portable eyewash unit with heavy duty polyethylene tank, wall or counter mounted. Supplied with 3’ drain hose and epoxy-coated steel bracket. Delivers 8 GPM for 15 minutes.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully assembled and tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1540