- ES-2* – Horizontally mounted emergency shower with recessed, stainless steel, flanged shower head, internal 20 GPM flow control, 1” IPS Schedule 40 hot dipped galvanized pipe and fittings, polished stainless steel pull rod, 1” IPS brass stay-open valve, stainless steel actuating arm, and stainless steel ceiling guide plate.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1629