- ES-19*– Corrosion resistant, all stainless steel construction, free standing emergency shower with stainless steel shower head, internal 20 GPM flow control, polished stainless steel pull rod, 1” IPS stainless steel stay-open valve and stainless steel actuating arm.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1696