- EF-2* – Pedestal mounted, eye/face wash with stainless steel bowl, Schedule 40 galvanized pipe and fittings, ½” U.S. made chrome-plated brass stay-open ball valve, powder-coated cast aluminum flag handle, and floor flange. Supplied with stainless steel bowl cover to protect bowl from dust, dirt, and other contaminants. Bowl cover opens when valve is activated. Unit shall have (4) polypropylene GS-Plus™ spray heads with integral filters and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1704BC