- EF-9* – Wall mounted eye/face wash with stainless steel bowl, ½” U.S. made chrome plated brass stay open ball valve, powder coated cast aluminum flag handle and wall bracket. Supplied with stainless steel bowl cover to protect bowl from dust, dirt, and other contaminants. Bowl cover opens when valve is activated. Unit shall have (4) polypropylene GS-Plus™ spray heads with integral filters and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1724BC