- EW-8* – Wall mounted eyewash with stainless steel bowl, ½” U.S. made chrome plated brass stay-open ball valve, powder coated cast aluminum flag handle and wall bracket. Supplied with stainless steel bowl to protect bowl from dust, dirt and other contaminants. Bowl cover opens when valve is activated. Unit shall have (2) polypropylene GS-Plus™ spray heads with integral filters and 1.6 GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1814BC