- EW-19* – Wall mounted, all stainless steel construction, corrosion resistant, eyewash with stainless steel bowl, ½” U.S. made stay-open stainless steel ball valve, stainless steel flag handle and wall bracket.  Unit shall have (2) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters and 1.6 GPM flow control orifices mounted on stainless steel head assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1891