- EW-23* – Pedestal mounted, corrosion-resistant eyewash with ABS plastic bowl, ½” IPS Type 316 stainless steel stay-open ball valve. Valve has stainless steel ball and PTFE seals, stainless steel flag handle and schedule 80 PVC pipe and fittings.  Unit shall have (2) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters and 1.6 GPM flow control orifices mounted on PVC-coated brass head assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1896