- SS-2* - Combination eyewash and shower safety station with ABS plastic shower head (optional stainless steel shower head “SSH”), internal 20 GPM flow control, stainless steel eyewash bowl, powder-coated cast aluminum flag handle and floor flange, 1¼” IPS Schedule 40 galvanized pipe and fittings, 1” IPS and ½” IPS U.S. made chrome-plated brass stay-open ball valves and polished stainless steel pull rod. Supplied with stainless steel bowl cover to protect bowl from dust, dirt, and other contaminants. Bowl cover opens when eyewash valve is activated. Unit shall have (2) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters, and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly. Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1902BC and G1902BC-SSH