- DH-9* - Deck mounted, hand-held eyewash/drench hose with ½” IPS U.S. made chrome-plated brass squeeze valve with replaceable stainless steel seat and locking clip, stainless steel squeeze handle with plastic cover, nylon handle, nylon deck flange with locator guide, and 8ft. PVC hose.  Unit shall have (2) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G5022