- DH-15* - Deck mounted hand-held drench hose with ½” IPS U.S. made ball valve, push-down valve activation, aluminum mounting bracket, nylon handle, nylon deck flange and locator guide, and 8ft. PVC hose. Unit shall have a polypropylene FS-Plus™ spray head with integral “flip-top” dust cover, filter and 3.2 GPM flow control orifice. Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G5043